| Expt No: 02 | WATER LEVEL CONTROL SYSTEM |
| --- | --- |
| Date: / /2025 |  |

- AIM:

To design a ladder logic program to maintain the water level in a tank.

- APPARATUS REQUIRED:

- VPLCT - 01 [PLC Trainer kit].

- Water level indicator [Float switches - 2].

- Personal Computer [PC].

- VersaPro Software Installed.

- RS - 232 cable.

- Patch Chords.

- PROCEDURE:

- Load the Versapro Software to the PC.

- Open the Versapro Software.

- Switch ON the PLC Trainer and Water level System.

- Connect PLC and Water level System kit.

- Open the New folder and draw the ladder logic program.

- Connect the PLC to PC.

- Select the correct hardware Configuration [Sl. No].

- Store the Program to PLC.

- Run the Program.

- Verify the performance of the Water level System.

- PROBLEM STATEMENT:

Water Level controller is used to Fill/drain the tank, which is depends upon high/low level in tank water. If the tank is in low level the solenoid valve will open & motor starts - ON Position if the tank is in high level, the solenoid valve will be close & motor stop - OFF position.

- BLOCK DIAGRAM:

- PROCESS DIAGRAM:

- WIRING DIAGRAM:

- LADDER DIAGRAM:

- RESULT:

Thus, the ladder logic program to maintain the water level in a tank has been designed and tested using the water level kit.